## BarnesMaze
Category | CDE Level | Variable Name | Title | Description | Datatype | Maximum character quantity | Input restriction | Minimum value | Maximum value | Permissible values | Unit of measure | Guidelines/instructions | Notes | Keywords for search | CDE origination | References | Version
Equipment | Core | BMTEquipPlatformDiametVal | Barnes Maze test - Equipment Platform diameter value | Value of Table diameter (in centimeters) of Barnes Maze apparatus | Numeric Values |  | Free-Form Entry | 50 | 300 |  | Centimeter | Record the BM diameter in centimeters. |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTEquipPlatformHeightVal | Barnes Maze test - Equipment Platform height from floor value | Value of the distance between the floor and the Barnes Maze Table | Numeric Values |  | Free-Form Entry | 1 | 150 |  | Centimeter | Record the distance that the BM is elevated from floor or table |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Core | BMTEquipPlatformHoleDiametVal | Barnes Maze test - Equipment platform hole diameter value | Value of diameter of each hole in Barnes maze table | Numeric Values |  | Free-Form Entry | 4 | 15 |  | Centimeter | Record the escape hole diameter in BM apparatus |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Core | BMTEquipPlatformHoleNumberVal | Barnes Maze test - Equipment platform holes number value | Value of number of holes in the platform of Barnes Maze test apparatus | Numeric Values |  | Free-Form Entry | 12 | 40 |  |  | Record the number of escape holes in BM apparatus |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Recommended | BMTEquipPlatformIlluminVal | Barnes Maze test - Equipment illumination level value | Barnes Maze test equipment illumination level value | Numeric Values |  | Free-Form Entry | 1 | 100000 |  | Lux |  |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTVisualCueNum | Barnes Maze test - Visual cues number | Number of visual cues the room | Numeric Values |  | Free-Form Entry | 0 | 100 |  |  | Enter the number of visual cues. |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTVisualCueDistance | Barnes Maze test - Distance of the visual cue | Distance of the visual cue from the centre of the table | Numeric Values |  | Free-Form Entry | 0 | 100000 |  | Centimeter | Record the distance of the visual cue from the center of the Barnes maze table |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTVisualCueSize | Barnes Maze test - Size of the visual cue | Diameter of the visual cue | Numeric Values |  | Free-Form Entry | 0 | 100000 |  | Centimeter | Record the diameter of the visual cue |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTAversiveStimulusDur | Barnes Maze test - Aversive stimulus duration | Duration of aversive stimulus used, as part of the Barnes maze test | Numeric Values |  | Free-Form Entry | 0 | 1000 |  | Hour | Record the duration of aversive stimuli used in the Barnes maze test. |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.396 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTAversiveStimulusTyp | Barnes Maze test - Aversive stimulus used type | Type of aversive stimulus used, as part of the Barnes maze test | Alphanumeric |  | Multiple Pre-Defined Values Selected |  |  | Dark;Fan;High intensity lighting;Other;White noise |  | Record the type of aversive stimuli used in the Barnes maze test. Select all applicable |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.395 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTOdorCue | Barnes Maze test - Odor Cue | Were odor cues used in this test | Alphanumeric |  | Single Pre-Defined Value Selected |  |  | No;Unknown;Yes |  | Record whether an odor cue was used to prime the position of the target box |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTPretestAcclTimeDur | Barnes maze test - pretest acclimatization to room time duration | Record the length of time animals were acclimatized to test room | Numeric Values |  | Free-Form Entry | 0 | 999 |  | Minute | Record the length of time animals were acclimatized to test room |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Recommended | BMTAcquisitionMethod | Barnes Maze test - Acquisition Method | The method or software used to record the trial | Alphanumeric | 4000 | Free-Form Entry |  |  |  |  | Record the method or software used to record the trial |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Equipment | Supplemental | BMTTrackingMethod | Barnes Maze test - Tracking Method to detect the animal | The method used to track the animal to detect it | Alphanumeric | 4000 | Free-Form Entry |  |  |  |  | Record the method used to track the mouse (Head, Body etc) |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Recommended | BMTStartingLocation | Barnes Maze test - Starting location | Starting position of the trial | Alphanumeric | 400 | Free-Form Entry |  |  |  |  | Record the position of the starting point for the trial |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Core | BMTTrialType | Barnes Maze test - Trial Type | The type of trial | Alphanumeric |  | Single Pre-Defined Value Selected |  |  | Learning;Memory Probe;Reversal |  | Record the type of trial |  | Barnes Maze | PRECISE-TBI | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Core | BMTTrialNum | Barnes Maze test - Trial order for each day | The order of the trials within each day | Numeric Values |  | Free-Form Entry | 1 | 100 |  |  | Record the order of the trials per day |  | Barnes Maze | PRECISE-TBI | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Recommended | BMTIntervalBetweenAcquisitionTrials | Barnes Maze test - Interval between acquisition trials run each day | Length of interval between trials on each day during acquisition testing | Numeric Values |  | Free-Form Entry | 0 | 120 |  | Minutes | Record the time between trials during acquisition testing |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Core | BMTAcquisitionNumberofDays | Barnes Maze test - Number of acquisition days for learning | Number of days acquisition testing was performed for learning | Numeric Values |  | Free-Form Entry | 1 | 21 |  | Days | Record the number of days acquisition testing for learning was performed |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Procedural Parameter | Core | BMTAcquisitiontoProbeInterval | Barnes Maze test - Interval between last acquisition trial and memory probe trial | Record the time post-acquisition phase until the probe trial | Numeric Values |  | Free-Form Entry | 0 | 100 |  | Days | Record the interval between the final acquisition trial and the probe trial (0 for no Probe) |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.394 | PRECISE.CDE.V001.1
Data Collected | Recommended | BMTAnimalSpeed | Barnes Maze test - Average Speed of the animal | Average speed of the animal | Numeric Values |  | Free-Form Entry | 0 | 100 |  | Centimeter per second | Record the average velocity of the animal on the Barnes maze |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Data Collected | Recommended | BMTDistanceTraveled | Barnes Maze test - Distance Traveled | Distance the animal traveled on the maze | Numeric Values |  | Free-Form Entry | 0 | 1000000 |  | Centimeter | Record the distance the animal traveled on the maze |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.392 | PRECISE.CDE.V001.1
Data Collected | Recommended | BMTTargetBoxErrorsPrimaryCt | Barnes Maze test - Error counts till first encounter with the escape hole of the target box | Number of errors animal made till first encounter with the escape hole, as part of the Barnes maze test | Numeric Values |  | Free-Form Entry | 0 | 100000 |  |  | Record how many times the animal dipped their head over the edge of a closed hole in the Barnes maze test, till its first encounter with the escape hole of the target box. |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.399 | PRECISE.CDE.V001.1
Data Collected | Recommended | BMTTargetBoxErrorsTotalCt | Barnes Maze test - Errors to find and enter the escape hole of the target box total count | Total count of errors animal made to find and enter the escape hole to the target box, as part of the Barnes maze test | Numeric Values |  | Free-Form Entry | 0 | 100000 |  |  | Record how many times the animal dipped their head over the edge of a closed hole in the Barnes maze test |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.398 | PRECISE.CDE.V001.1
Data Collected | Core | BMTLatencyEscapeHolFindDur | Barnes Maze test - Latency to find escape hole duration | Duration of latency time needed to locate the escape hole, as part of Barnes maze test | Numeric Values |  | Free-Form Entry | 0 | 1000 |  | Second | Record the time to locate the escape hole |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.395 | PRECISE.CDE.V001.1
Data Collected | Supplemental | BMTLatencyEscapeHolEnterDur | Barnes Maze test - Latency to enter escape hole duration | Duration of latency time needed to enter the escape hole, as part of Barnes maze test | Numeric Values |  | Free-Form Entry | 0 | 1000 |  | Second | Record the time to enter the escape hole |  | Barnes Maze | NIH/CIT/BRICS | PMID 9872460; PMID 10065997; PMID 7781067; PMID: 26774527; Sunyer et al. Nature Protocol Exchange (2007) doi:10.1038/nprot.2007.395 | PRECISE.CDE.V001.1
Note on C25: Might be more important to know the distance between the center of the table and the cues and the size of those cues. -Scott Ferguson